## Calibrate-everyday
| Nothing | 100g calibration weight
| 0g | 100g
| -87430 | -396766
| -87476 | -396521
| -87308 | -396554 | 0 | -87437.9596 | Units Per Gram | 3093.1604
| -87399 | -396804 | -100 | -396754 | Zero | -28.2682
| -87371 | -396942
| -87414 | -396601
| -87342 | -396880
| -87260 | -396742
| -87511 | -396405
| -87424 | -396663
| -87514 | -396592
| -87577 | -396845
| -87510 | -396735
| -87493 | -396950
| -87529 | -396656
| -87488 | -396976
| -87371 | -396705
| -87380 | -396938
| -87426 | -396558
| -87583 | -396768
| -87500 | -396662
| -87507 | -396922
| -87648 | -396486
| -87394 | -396636
| -87487 | -396853
| -87606 | -396675
| -87320 | -396620
| -87334 | -396693
| -87364 | -396686
| -87241 | -396622
| -87359 | -396623
| -87460 | -396753
| -87430 | -396576
| -87482 | -396769
| -87407 | -396545
| -87400 | -396636
| -87432 | -396678
| -87453 | -396719
| -87412 | -396781
| -87419 | -396738
| -87419 | -396838
| -87478 | -396680
| -87436 | -396627
| -87417 | -396741
| -87332 | -396640
| -87343 | -396759
| -87223 | -396772
| -87490 | -396468
| -87559 | -396524
| -87424 | -396749
| -87580 | -396609
| -87547 | -396671
| -87591 | -396652
| -87477 | -396523
| -87339 | -396767
| -87415 | -396811
| -87497 | -396690
| -87450 | -396309
| -87556 | -396852
| -87394 | -396591
| -87403 | -396031
| -87322 | -396616
| -87322 | -396865
| -87353 | -396614
| -87475 | -396122
| -87494 | -397602
| -87584 | -396950
| -87360 | -396415
| -87532 | -396691
| -87320 | -396430
| -87440 | -396750
| -87632 | -396919
| -87402 | -396587
| -87472 | -396485
| -87465 | -396653
| -87288 | -396512
| -87500 | -396744
| -87400 | -396740
| -87428 | -396440
| -87314 | -396495
| -87459 | -396775
| -87459 | -396663
| -87494 | -396631
| -87311 | -396653
| -87411 | -396733
| -87437 | -396485
| -87349 | -396422
| -87590 | -396389
| -87518 | -396753
| -87591 | -396386
| -87413 | -396697
| -87342 | -396276
| -87369 | -396687
| -87567 | -396563
| -87481 | -396754
| -87325 | -396705
| -87546 | -396611
| -87396 | -396785
| -87366 | -397325
Average | -87437.9596 | -396671.7273
| -87433 | -396362
| -87357 | -396662
| -87373 | -396443
| -87298 | -396621
| -87516 | -396858
| -87483 | -396565
| -87230 | -396203
| -87471 | -396900
| -87621 | -396651
| -87381 | -396661
| -87413 | -396571
| -87382 | -396439
| -87426 | -396520
| -87523 | -396426
| -87400 | -396477
| -87302 | -396536
| -87300 | -396461
| -87354 | -396467
| -87468 | -396678
| -87504 | -396632
| -87498 | -396550
| -87394 | -396502
| -87630 | -225510
| -87386 | -225546
| -87476 | -225692
| -87217 | -225461
| -87315 | -234965
| -87403 | -234898
| -87245 | -234906
| -87469 | -234934
| -87529 | -234986
| -87624 | -234951
| -87514 | -234909
| -87405 | -234925
| -87498 | -234953
| -87455 | -234965
-87545
-87533
-87465
-87394
-87569
-87469
-87386
-87422
-87430
-87541
-87385
-87398
-87495
-87314
-87357
-87271
-87414
-87323
-87390
-87304
-87436
-87258
-87350
-87675
-87318
-87472
-87441
-87480
-87542
-87335
-87427
-87424
-87393
-87492
-87478
-87480
-87470
-87340
-87464
-87363
-87414
-87465
-87395
-87440
88236
88215
88259
88159
88387
88391
88306
88148
88202
88281
88222
88344
88485
88456
88286
88400
88594
88408
88610
88559
88798
88602
88704
88695
88849
88761
88979
88846
88885
88882
88810
88771
88604
88719
88501
88825
88740
88716
88753
88735
88642
88779
88791
88603
88654
88586
88563
88660
88009
88013
87842
87928
87966
88044
88109
87968
87890
88184
88217
88236
88277
88180
88472
88399
88164
88318
88455
80545
80545
80541
80515
80507
80517
80494
80502
80509
80507
80580
80587
80554
80522
80535
80453
80410
80461
80451
80404
80438
80468

## reverse-mount
| Nothing | 100g calibration weight
| 0g | 100g
| 237894 | 555240
| 237912 | 555205
| 237869 | 555219 | 0 | 237910 | Units Per Gram | -3172.9461
| 237834 | 555269 | -100 | 555204.6061 | Zero | -74.9808
| 237862 | 555228
| 237872 | 555191
| 237855 | 555190
| 237924 | 555179
| 237896 | 555192
| 237876 | 555177
| 237901 | 555238
| 237918 | 555209
| 237909 | 555219
| 237864 | 555209 |  |  |  |  | 2812092
| 237921 | 555189
| 237932 | 555211
| 237901 | 555185
| 237897 | 555189
| 237911 | 555239
| 237920 | 555230
| 237942 | 555251
| 237946 | 555216
| 237943 | 555220
| 237953 | 555217
| 237927 | 555200
| 237883 | 555211
| 237876 | 555267
| 237911 | 555235
| 237927 | 555221
| 237923 | 555214
| 237988 | 555190
| 237962 | 555180
| 237901 | 555179
| 237892 | 555237
| 237943 | 555202
| 237913 | 555163
| 237870 | 555206
| 237911 | 555232
| 237893 | 555207
| 237929 | 555245
| 237914 | 555220
| 237863 | 555196
| 237847 | 555194
| 237867 | 555217
| 237905 | 555218
| 237867 | 555175
| 237872 | 555120
| 237884 | 555151
| 237945 | 555131
| 237933 | 555177
| 237910 | 555216
| 237899 | 555199
| 237955 | 555201
| 237989 | 555254
| 237953 | 555256
| 237962 | 555184
| 237955 | 555206
| 237952 | 555214
| 237854 | 555272
| 237863 | 555216
| 237886 | 555159
| 237919 | 555191
| 237947 | 555230
| 237928 | 555239
| 237945 | 555235
| 237938 | 555192
| 237928 | 555199
| 237911 | 555234
| 237889 | 555236
| 237896 | 555210
| 237899 | 555172
| 237910 | 555194
| 237942 | 555172
| 237961 | 555178
| 237870 | 555175
| 237872 | 555167
| 237919 | 555210
| 237978 | 555249
| 238002 | 555219
| 237928 | 555220
| 237870 | 555165
| 237906 | 555176
| 237915 | 555208
| 237904 | 555232
| 237922 | 555237
| 237936 | 555232
| 237883 | 555248
| 237880 | 555246
| 237892 | 555218
| 237913 | 555224
| 237942 | 555167
| 237896 | 555179
| 237879 | 555206
| 237890 | 555160
| 237893 | 555151
| 237867 | 555152
| 237857 | 555132
| 237929 | 555131
| 237958 | 555193
Average | 237910 | 555204.6061

## May-1-2021
| Nothing | 100g calibration weight
| 0g | 100g
| 131076 | -186031
| 130975 | -186013
| 130963 | -186023 | 0 | 131020.0909 | Units Per Gram | 3168.8668
| 131047 | -185979 | -100 | -185866.5859 | Zero | 41.346
| 131035 | -185962
| 131010 | -185961
| 131007 | -185968
| 131003 | -185951
| 130980 | -185998
| 130943 | -185987
| 131000 | -185895
| 131069 | -185901
| 130985 | -185887
| 130984 | -185844
| 130992 | -185845
| 130901 | -185799
| 130991 | -185861
| 131036 | -185884
| 130965 | -185838
| 130941 | -185830
| 130932 | -185830
| 131013 | -185847
| 131029 | -185824
| 131002 | -185845
| 130895 | -185792
| 130900 | -185857
| 130905 | -185885
| 130925 | -185842
| 130920 | -185880
| 130905 | -185872
| 130884 | -185844
| 130888 | -185839
| 130950 | -185805
| 131026 | -185793
| 131022 | -185866
| 131003 | -185856
| 131053 | -185889
| 130995 | -185917
| 130987 | -185941
| 131051 | -185916
| 131123 | -185831
| 131077 | -185823
| 130990 | -185849
| 130988 | -185888
| 131029 | -185914
| 131000 | -185896
| 131017 | -185819
| 131030 | -185799
| 131089 | -185883
| 131116 | -185896
| 131125 | -185880
| 131079 | -185919
| 131078 | -185938
| 131084 | -185892
| 131063 | -185865
| 131078 | -185898
| 131104 | -185847
| 131080 | -185862
| 131090 | -185899
| 131097 | -185957
| 131059 | -185913
| 131072 | -185940
| 131053 | -185979
| 131067 | -185948
| 131098 | -185918
| 131050 | -185895
| 131082 | -185926
| 131089 | -185925
| 131051 | -185894
| 131101 | -185863
| 131030 | -185845
| 131019 | -185911
| 131096 | -185922
| 131056 | -185921
| 131083 | -185878
| 130984 | -185907
| 131003 | -185863
| 131072 | -185841
| 131085 | -185871
| 131036 | -185848
| 131011 | -185845
| 131003 | -185875
| 131073 | -185866
| 131133 | -185812
| 131110 | -185777
| 131084 | -185786
| 131054 | -185772
| 131003 | -185754
| 130995 | -185767
| 130996 | -185748
| 130994 | -185765
| 130983 | -185792
| 130996 | -185785
| 131034 | -185748
| 131001 | -185722
| 130973 | -185686
| 130931 | -185649
| 130930 | -185697
| 130974 | -185786
Average | 131020.0909 | -185866.5859

## Apr-26-2021
| Nothing | 100g calibration weight
| 0g | 100g
| 133375 | -180733
| 133476 | -180723
| 133470 | -180670 | 0 | 133267.2121 | Units Per Gram | 3138.5993
| 133455 | -180676 | -100 | -180592.7172 | Zero | 42.4607
| 133385 | -180720
| 133268 | -180713
| 133377 | -180691
| 133361 | -180694
| 133412 | -180635
| 133375 | -180693
| 133311 | -180680
| 133360 | -180656
| 133397 | -180657
| 133316 | -180656
| 133301 | -180653
| 133369 | -180643
| 133296 | -180607
| 133281 | -180592
| 133306 | -180642
| 133319 | -180680
| 133414 | -180668
| 133388 | -180635
| 133310 | -180618
| 133241 | -180558
| 133233 | -180607
| 133246 | -180612
| 133313 | -180594
| 133284 | -180645
| 133314 | -180604
| 133307 | -180570
| 133352 | -180595
| 133324 | -180598
| 133289 | -180583
| 133323 | -180612
| 133304 | -180594
| 133296 | -180613
| 133281 | -180638
| 133269 | -180624
| 133290 | -180629
| 133277 | -180615
| 133288 | -180597
| 133294 | -180619
| 133260 | -180593
| 133232 | -180631
| 133299 | -180625
| 133267 | -180647
| 133287 | -180646
| 133275 | -180596
| 133260 | -180573
| 133285 | -180602
| 133241 | -180589
| 133246 | -180570
| 133250 | -180591
| 133221 | -180588
| 133194 | -180603
| 133120 | -180604
| 133167 | -180546
| 133142 | -180533
| 133175 | -180518
| 133231 | -180573
| 133237 | -180565
| 133258 | -180536
| 133258 | -180554
| 133207 | -180535
| 133185 | -180497
| 133168 | -180570
| 133157 | -180529
| 133189 | -180474
| 133196 | -180482
| 133200 | -180583
| 133235 | -180587
| 133160 | -180554
| 133214 | -180548
| 133252 | -180562
| 133229 | -180562
| 133177 | -180562
| 133193 | -180580
| 133210 | -180582
| 133265 | -180528
| 133309 | -180495
| 133301 | -180539
| 133288 | -180577
| 133167 | -180530
| 133202 | -180508
| 133202 | -180546
| 133179 | -180565
| 133172 | -180545
| 133249 | -180592
| 133294 | -180500
| 133215 | -180508
| 133208 | -180507
| 133191 | -180513
| 133215 | -180535
| 133258 | -180547
| 133165 | -180568
| 133184 | -180625
| 133255 | -180571
| 133218 | -180530
| 133193 | -180518
Average | 133267.2121 | -180592.7172

## Apr-20-2021-evening
| Nothing | 100g calibration weight
| 0g | 100g
| 131919 | -183606
| 131913 | -183590
| 131903 | -183622 | 0 | 131868.4747 | Units Per Gram | 3154.0586
| 131855 | -183624 | -100 | -183537.3838 | Zero | 41.8091
| 131858 | -183603
| 131879 | -183612
| 131877 | -183629
| 131835 | -183616
| 131865 | -183618
| 131853 | -183628
| 131888 | -183641
| 131916 | -183646
| 131869 | -183634
| 131862 | -183629
| 131890 | -183597
| 131905 | -183607
| 131919 | -183657
| 131885 | -183644
| 131843 | -183616
| 131908 | -183697
| 131921 | -183648
| 131915 | -183598
| 131939 | -183583
| 131956 | -183608
| 131941 | -183609
| 131973 | -183591
| 131919 | -183571
| 131863 | -183628
| 131841 | -183694
| 131823 | -183654
| 131898 | -183622
| 131938 | -183631
| 131904 | -183656
| 131873 | -183647
| 131874 | -183690
| 131851 | -183645
| 131869 | -183647
| 131936 | -183653
| 131922 | -183576
| 131870 | -183605
| 131923 | -183593
| 131922 | -183616
| 131894 | -183590
| 131904 | -183552
| 131898 | -183500
| 131844 | -183523
| 131890 | -183553
| 131964 | -183576
| 131969 | -183569
| 131949 | -183567
| 131935 | -183488
| 131979 | -183530
| 131982 | -183488
| 131927 | -183452
| 131915 | -183506
| 131945 | -183502
| 131918 | -183521
| 131936 | -183498
| 131985 | -183418
| 131980 | -183432
| 131967 | -183488
| 131975 | -183471
| 131912 | -183469
| 131905 | -183388
| 131901 | -183405
| 131878 | -183424
| 131889 | -183433
| 131874 | -183458
| 131878 | -183480
| 131834 | -183395
| 131876 | -183368
| 131884 | -183470
| 131875 | -183460
| 131872 | -183431
| 131883 | -183437
| 131841 | -183413
| 131822 | -183422
| 131845 | -183399
| 131873 | -183464
| 131886 | -183481
| 131881 | -183455
| 131826 | -183424
| 131783 | -183438
| 131794 | -183420
| 131795 | -183445
| 131765 | -183443
| 131758 | -183461
| 131757 | -183470
| 131739 | -183454
| 131729 | -183501
| 131730 | -183511
| 131727 | -183506
| 131710 | -183481
| 131692 | -183457
| 131693 | -183468
| 131653 | -183491
| 131634 | -183491
| 131659 | -183513
| 131657 | -183470
Average | 131868.4747 | -183537.3838

## Apr-20-2021
| Nothing | 100g calibration weight
| 0g | 100g
| 129325 | -184243
| 129320 | -184239
| 129300 | -184241 | 0 | 129322.0202 | Units Per Gram | 3134.7345
| 129304 | -184177 | -100 | -184151.4343 | Zero | 41.2545
| 129339 | -184230
| 129394 | -184218
| 129390 | -184193
| 129322 | -184183
| 129336 | -184230
| 129372 | -184237
| 129380 | -184197
| 129363 | -184189
| 129353 | -184163
| 129415 | -184163
| 129383 | -184224
| 129345 | -184198
| 129347 | -184155
| 129356 | -184146
| 129312 | -184095
| 129325 | -184143
| 129343 | -184164
| 129351 | -184109
| 129327 | -184043
| 129375 | -184053
| 129332 | -184092
| 129325 | -184100
| 129321 | -184067
| 129355 | -184040
| 129379 | -184043
| 129354 | -184017
| 129290 | -184037
| 129282 | -184005
| 129280 | -183963
| 129323 | -184010
| 129326 | -183970
| 129310 | -183987
| 129306 | -184007
| 129289 | -183980
| 129248 | -184017
| 129254 | -183979
| 129321 | -184032
| 129236 | -184013
| 129223 | -184026
| 129255 | -183987
| 129260 | -183934
| 129280 | -183950
| 129279 | -184017
| 129252 | -184001
| 129269 | -183997
| 129248 | -184058
| 129229 | -184062
| 129218 | -184040
| 129210 | -183988
| 129306 | -184078
| 129325 | -184097
| 129296 | -184090
| 129291 | -184098
| 129284 | -184100
| 129272 | -184100
| 129263 | -184145
| 129286 | -184123
| 129295 | -184133
| 129269 | -184194
| 129282 | -184170
| 129269 | -184169
| 129268 | -184138
| 129345 | -184164
| 129332 | -184173
| 129287 | -184182
| 129282 | -184192
| 129271 | -184252
| 129269 | -184193
| 129327 | -184150
| 129359 | -184178
| 129346 | -184226
| 129347 | -184322
| 129354 | -184322
| 129382 | -184267
| 129369 | -184282
| 129365 | -184286
| 129369 | -184259
| 129333 | -184263
| 129308 | -184294
| 129306 | -184245
| 129314 | -184266
| 129365 | -184309
| 129359 | -184339
| 129354 | -184322
| 129381 | -184276
| 129386 | -184292
| 129353 | -184264
| 129380 | -184266
| 129359 | -184316
| 129356 | -184320
| 129397 | -184275
| 129382 | -184286
| 129376 | -184332
| 129422 | -184279
| 129408 | -184313
Average | 129322.0202 | -184151.4343

## Apr-10-2021
| Nothing | 100g calibration weight
| 0g | 100g
| 133258 | -179085
| 133263 | -179088
| 133278 | -179111 | 0 | 133270.0404 | Units Per Gram | 3121.8835
| 133310 | -179121 | -100 | -178918.3131 | Zero | 42.689
| 133288 | -179085
| 133264 | -179038
| 133252 | -179013
| 133268 | -179050
| 133278 | -179065
| 133278 | -179030
| 133252 | -179058
| 133250 | -179070
| 133313 | -179061
| 133260 | -179038
| 133245 | -179028
| 133250 | -179080
| 133266 | -179126
| 133308 | -179084
| 133294 | -179077
| 133308 | -179042
| 133283 | -179014
| 133287 | -178979
| 133271 | -178946
| 133270 | -178960
| 133240 | -178926
| 133244 | -178859
| 133266 | -178824
| 133240 | -178779
| 133229 | -178740
| 133214 | -178782
| 133316 | -178697
| 133292 | -178686
| 133259 | -178731
| 133284 | -178741
| 133299 | -178746
| 133295 | -178811
| 133265 | -178788
| 133267 | -178735
| 133260 | -178751
| 133263 | -178697
| 133284 | -178724
| 133256 | -178754
| 133282 | -178709
| 133297 | -178704
| 133261 | -178686
| 133255 | -178707
| 133232 | -178721
| 133293 | -178700
| 133270 | -178778
| 133263 | -178706
| 133275 | -178706
| 133235 | -178673
| 133254 | -178727
| 133271 | -178702
| 133253 | -178688
| 133295 | -178724
| 133277 | -178752
| 133243 | -178741
| 133263 | -178765
| 133279 | -178758
| 133228 | -178753
| 133232 | -178785
| 133295 | -178824
| 133316 | -178816
| 133323 | -178864
| 133327 | -178867
| 133275 | -178843
| 133288 | -178887
| 133237 | -178948
| 133257 | -178958
| 133274 | -178943
| 133252 | -178938
| 133283 | -178971
| 133295 | -178964
| 133236 | -178960
| 133253 | -179011
| 133282 | -179035
| 133300 | -179022
| 133252 | -179021
| 133274 | -179026
| 133322 | -179017
| 133302 | -179038
| 133249 | -179079
| 133239 | -179115
| 133238 | -179071
| 133230 | -179075
| 133272 | -179142
| 133296 | -179118
| 133294 | -179059
| 133263 | -179057
| 133270 | -179087
| 133253 | -179124
| 133237 | -179143
| 133217 | -179098
| 133270 | -179100
| 133288 | -179107
| 133292 | -179031
| 133292 | -179028
| 133266 | -179021
Average | 133270.0404 | -178918.3131

## using-metal-plates-again(Apr-4-
|  | Nothing | 1 plate | 2 plate | A steel shaft
| Theoretical | 0g | -104.9 | -209.8 | -5.14
|  | 134846 | -186362 | -508179 | 119582 |  | X | Y
|  | 134874 | -186395 | -508152 | 119553 |  | 0 | 134845.9
|  | 134887 | -186332 | -508156 | 119546 |  | -104.9 | -186443.74
|  | 134870 | -186368 | -508197 | 119550 |  | -209.8 | -508269.14
|  | 134862 | -186446 | -508187 | 119516 |  | -5.14 | 119553.98
|  | 134812 | -186350 | -508234 | 119484
|  | 134885 | -186393 | -508217 | 119489
|  | 134865 | -186463 | -508284 | 119555
|  | 134846 | -186415 | -508263 | 119557
|  | 134896 | -186354 | -508247 | 119532
|  | 134909 | -186412 | -508178 | 119562
|  | 134920 | -186387 | -508275 | 119516
|  | 134925 | -186417 | -508245 | 119493
|  | 134983 | -186447 | -508234 | 119562
|  | 134948 | -186462 | -508238 | 119596
|  | 134898 | -186494 | -508278 | 119556
|  | 134936 | -186456 | -508296 | 119498
|  | 134906 | -186411 | -508308 | 119548
|  | 134850 | -186419 | -508319 | 119533
|  | 134827 | -186436 | -508315 | 119518
|  | 134917 | -186391 | -508325 | 119546
|  | 134917 | -186408 | -508336 | 119615 |  |  | Regression
|  | 134903 | -186434 | -508331 | 119534 |  |  | Regression Model | Linear
|  | 134951 | -186432 | -508254 | 119568
|  | 134941 | -186428 | -508347 | 119639 |  |  | LINEST raw output
|  | 134932 | -186416 | -508390 | 119618 |  |  | 3066.3235 | 135104.9743 | [5 empty] | Y = (1/3066.32)X – 44.03
|  | 134926 | -186466 | -508328 | 119607 |  |  | 1.465 | 171.863
|  | 134910 | -186506 | -508369 | 119616 |  |  | 1 | 251.5086
|  | 134882 | -186468 | -508362 | 119579 |  |  | 4380672.795 | 2
|  | 134857 | -186507 | -508311 | 119568 |  |  | 277106346736.782 | 126513.1452
|  | 134830 | -186466 | -508279 | 119610
|  | 134814 | -186467 | -508278 | 119592 |  |  | Regression Statistics
|  | 134771 | -186506 | -508303 | 119537 |  |  | R^2 | 1
|  | 134754 | -186516 | -508257 | 119560 |  |  | Standard Error | 251.5086
|  | 134717 | -186522 | -508291 | 119512 |  |  | Count of X variables | 1
|  | 134721 | -186517 | -508329 | 119533 |  |  | Observations | 4
|  | 134760 | -186450 | -508296 | 119532 |  |  | Adjusted R^2 | 1
|  | 134728 | -186444 | -508218 | 119549
|  | 134755 | -186501 | -508266 | 119567 |  |  | Analysis of Variance (ANOVA)
|  | 134748 | -186460 | -508279 | 119563 |  |  |  | df | SS | MS | F | Significance F
|  | 134743 | -186474 | -508243 | 119542 |  |  | Regression | 1 | 277106346736.782 | 277106346736.782 | 4380672.795 | 2.2828e-07
|  | 134813 | -186506 | -508227 | 119562 |  |  | Residual | 2 | 126513.1452 | 63256.5726
|  | 134773 | -186481 | -508228 | 119562 |  |  | Total | 3 | 277106473249.928
|  | 134772 | -186460 | -508244 | 119573
|  | 134802 | -186496 | -508234 | 119504 |  |  | Confidence level | 0.95
|  | 134800 | -186479 | -508275 | 119532
|  | 134728 | -186469 | -508261 | 119536 |  |  |  | Coefficients | Standard Error | t-Statistic | P-value | Lower 95% | Upper 95%
|  | 134743 | -186448 | -508253 | 119538 |  |  | Intercept | 135104.9743 | 171.863 | 786.1204 | 1.6182e-06 | 134365.5076 | 135844.4409
|  | 134813 | -186469 | -508252 | 119567 |  |  | X1 | 3066.3235 | 1.465 | 2093.0057 | 2.2828e-07 | 3060.0199 | 3072.627
|  | 134829 | -186381 | -508289 | 119592
| Average | 134845.9 | -186443.74 | -508269.14 | 119553.98 |  |  | X1 | Predicted Y | Y | Residual
[8 empty] | 0 | 135104.9743 | 134845.9 | -259.0743
[6 empty] | 73 |  | -104.9 | -186552.3572 | -186443.74 | 108.6172
This was calculated using some stainless steel plates I had laser cut a while ago, and whose dimensions I measured with calipers. | [7 empty] | -209.8 | -508209.6887 | -508269.14 | -59.4513
Also a steel shaft I had | [7 empty] | -5.14 | 119344.0717 | 119553.98 | 209.9083
Theoretical weight of each metal plate: 104.9g
Theoretical weight of steel shaft: 5.14g

## initial
|  | Level no load | Up no load | Up with 136g plate hanging off | Down no load
|  | 142641 | 134669 | -274395 | 150012 | 0g | 134712
|  | 142688 | 134680 | -274323 | 150011 | -136.3g | -274766
|  | 142651 | 134673 | -274278 | 150071
|  | 142665 | 134714 | -274285 | 150116 | ~3004 units per gram
|  | 142715 | 134670 | -274405 | 150080
|  | 142665 | 134670 | -274322 | 150034 | Y = (1/3004)X - 44.84
|  | 142702 | 134734 | -274346 | 150081 | Where Y is measurement in gram-force
|  | 142729 | 134676 | -274643 | 150039 | X is the raw ADC reading
|  | 142713 | 134657 | -274370 | 150025
|  | 142749 | 134689 | -274437 | 150078
|  | 142756 | 134712 | -274451 | 150047
|  | 142746 | 134752 | -274453 | 150031
|  | 142762 | 134757 | -274467 | 150022
|  | 142764 | 134732 | -274494 | 149980
|  | 142780 | 134736 | -274612 | 150121
|  | 142781 | 134713 | -274551 | 150002
|  | 142774 | 134739 | -274465 | 150081
|  | 142848 | 134716 | -274570 | 150003
|  | 142771 | 134702 | -274558 | 150063
|  | 142874 | 134695 | -274568 | 150080
|  | 142790 | 134724 | -274568 | 149985
|  | 142771 | 134723 | -274557 | 150043
|  | 142769 | 134682 | -274640 | 150048
|  | 142792 | 134697 | -274631 | 150056
|  | 142747 | 134691 | -274626 | 150065
|  | 142766 | 134733 | -274685 | 150038
|  | 142739 | 134747 | -274539 | 150074
|  | 142819 | 134715 | -274626 | 150037
|  | 142792 | 134742 | -274674 | 150036
|  | 142775 | 134749 | -274689 | 150041
|  | 142749 | 134768 | -274678 | 150067
|  | 142715 | 134706 | -274677 | 150102
|  | 142782 | 134716 | -274740 | 150031
|  | 142793 | 134747 | -274766 | 150069
| Average | 142752.1471 | 134712.5294 | -274532.0294 | 150049.0882
These are some quite tests I run to get a crude initial calibration. I neither have an accurate scale nor any calibrated weights, so I used a plate for a keyboard I designed and used its estimated mass from CAD. The plate was estimated to be 136g from CAD, and measured 131g on a cheap Amazonbasics scale. I hung the plate off the load cell with the unit facing upwards.
These are raw ADC readings

## using-quarters
|  | Nothing | 1 quarter | 3 quarters | 7 quarters | 10 quarters | 13 | Coin tolerances are +/-4% according to https://www.thesprucecrafts.com/how-much-do-coins-weigh-4171330#:~:text=All%2025%2Dcent%20coins%20manufactured,a%20diameter%20of%2024.26%20millimeters
| Theoretical | 0g | -5.67g | -17.01g | -39.7 | -56.7g | 73.7
| Measured with cheap Amazon scale |  | -6 | -17 | -39 | Fluctuates 56 and 57 | 73
|  | 135224 | 118141 | 82923 | 12488 | -40853 | -93581 |  | X | Y
|  | 135216 | 118213 | 82906 | 12519 | -40841 | -93590 |  | 0 | 135138.58
|  | 135262 | 118194 | 82879 | 12556 | -40846 | -93654 |  | -5.67 | 118194.04
|  | 135282 | 118209 | 82903 | 12612 | -40848 | -93650 |  | -17.01 | 82914.6
|  | 135201 | 118175 | 82917 | 12651 | -40770 | -93656 |  | -39.7 | 12600.36
|  | 135181 | 118146 | 82931 | 12596 | -40730 | -93633 |  | -56.7 | -40769.68
|  | 135172 | 118136 | 82898 | 12578 | -40810 | -93633 |  | -73.7 | -93674.44
|  | 135179 | 118158 | 82900 | 12635 | -40756 | -93603
|  | 135253 | 118199 | 82959 | 12592 | -40731 | -93586
|  | 135211 | 118209 | 82912 | 12660 | -40750 | -93588
|  | 135180 | 118162 | 82858 | 12638 | -40779 | -93582
|  | 135230 | 118172 | 82910 | 12597 | -40770 | -93596
|  | 135136 | 118194 | 82944 | 12587 | -40743 | -93595
|  | 135184 | 118178 | 82904 | 12560 | -40768 | -93557
|  | 135154 | 118192 | 82878 | 12587 | -40790 | -93662 | [9 empty] | Y = (1/3108.74)X - 43.6
|  | 135173 | 118216 | 82883 | 12604 | -40736 | -93670
|  | 135159 | 118223 | 82921 | 12578 | -40752 | -93681 | [9 empty] | Two point: 1/3104.65 - 43.5
|  | 135145 | 118219 | 82858 | 12604 | -40782 | -93678
|  | 135121 | 118194 | 82875 | 12622 | -40717 | -93633
|  | 135105 | 118197 | 82870 | 12617 | -40687 | -93613
|  | 135122 | 118234 | 82922 | 12618 | -40752 | -93682
|  | 135121 | 118206 | 82922 | 12585 | -40766 | -93699
|  | 135125 | 118206 | 82935 | 12570 | -40757 | -93631
|  | 135100 | 118239 | 82947 | 12568 | -40767 | -93615
|  | 135100 | 118222 | 82908 | 12610 | -40758 | -93647
|  | 135090 | 118204 | 82944 | 12645 | -40764 | -93702
|  | 135112 | 118246 | 82971 | 12645 | -40749 | -93670 |  |  | Regression
|  | 135151 | 118212 | 82877 | 12611 | -40742 | -93640 |  |  | Regression Model | Linear
|  | 135126 | 118188 | 82857 | 12547 | -40782 | -93606
|  | 135101 | 118142 | 82933 | 12571 | -40755 | -93616 |  |  | LINEST raw output
|  | 135116 | 118211 | 82952 | 12554 | -40770 | -93665 |  |  | 3108.7427 | 135617.8122
|  | 135108 | 118248 | 82935 | 12601 | -40782 | -93647 |  |  | 5.4039 | 226.5365
|  | 135093 | 118237 | 82895 | 12710 | -40741 | -93684 |  |  | 0.99999 | 356.4178
|  | 135135 | 118249 | 82905 | 12658 | -40714 | -93687 |  |  | 330943.4763 | 4
|  | 135143 | 118249 | 82964 | 12630 | -40714 | -93692 |  |  | 42040952299.9808 | 508134.5342
|  | 135131 | 118233 | 82963 | 12609 | -40755 | -93705
|  | 135142 | 118220 | 82878 | 12654 | -40738 | -93761 |  |  | Regression Statistics
|  | 135108 | 118214 | 82843 | 12685 | -40734 | -93813 |  |  | R^2 | 0.99999
|  | 135127 | 118185 | 82912 | 12612 | -40781 | -93828 |  |  | Standard Error | 356.4178
|  | 135076 | 118141 | 82889 | 12606 | -40801 | -93788 |  |  | Count of X variables | 1
|  | 135061 | 118151 | 82904 | 12590 | -40760 | -93752 |  |  | Observations | 6
|  | 135086 | 118178 | 82918 | 12613 | -40792 | -93777 |  |  | Adjusted R^2 | 0.99998
|  | 135111 | 118166 | 82957 | 12591 | -40788 | -93749
|  | 135093 | 118209 | 82951 | 12544 | -40805 | -93717 |  |  | Analysis of Variance (ANOVA)
|  | 135079 | 118220 | 82930 | 12551 | -40779 | -93724 |  |  |  | df | SS | MS | F | Significance F
|  | 135101 | 118248 | 82941 | 12558 | -40798 | -93751 |  |  | Regression | 1 | 42040952299.9808 | 42040952299.9808 | 330943.4763 | 5.4782e-11
|  | 135087 | 118185 | 82906 | 12584 | -40791 | -93708 |  |  | Residual | 4 | 508134.5342 | 127033.6336
|  | 135046 | 118108 | 82930 | 12606 | -40800 | -93758 |  |  | Total | 5 | 42041460434.515
|  | 135059 | 118119 | 82959 | 12621 | -40798 | -93829
|  | 135111 | 118105 | 82953 | 12590 | -40792 | -93738 |  |  | Confidence level | 0.95
| Average | 135138.58 | 118194.04 | 82914.6 | 12600.36 | -40769.68 | -93674.44
[11 empty] | Coefficients | Standard Error | t-Statistic | P-value | Lower 95% | Upper 95%
|  |  | 6 | 17 | 39 |  | 73 |  |  | Intercept | 135617.8122 | 226.5365 | 598.6576 | 4.6712e-11 | 134988.846 | 136246.7784
This was calibrated using coins | [9 empty] | X1 | 3108.7427 | 5.4039 | 575.2769 | 5.4782e-11 | 3093.739 | 3123.7463
[10 empty] | X1 | Predicted Y | Y | Residual
[10 empty] | 0 | 135617.8122 | 135138.58 | -479.2322
[10 empty] | -5.67 | 117991.2412 | 118194.04 | 202.7988
[10 empty] | -17.01 | 82738.0993 | 82914.6 | 176.5007
[10 empty] | -39.7 | 12200.7279 | 12600.36 | 399.6321
[10 empty] | -56.7 | -40647.8976 | -40769.68 | -121.7824
[10 empty] | -73.7 | -93496.5231 | -93674.44 | -177.9169